## Project
100 MWac Solar PV + 50 MW / 200 MWh BESS CAISO SP15 — Project Finance Model

## Inputs
INPUTS — All Model Assumptions · 100 MWac Solar PV + 50 MW/200 MWh BESS · CAISO SP15
| Category | Variable Name | Value | Unit | Source Citation | Notes
General Assumptions
|  | Technology | Single-axis tracking PV + AC-coupled Li-ion BESS |  | Developer assumption
|  | Location Proxy | CAISO SP15 — Southern California |  | CAISO interconnection queue
|  | COD Assumption | Year 1 of model (no construction period) |  | Simplification — see Limitations
|  | Project Life | 30 years |  | Developer assumption
PV Assumptions
|  | Solar Capacity (MWac) | 100 | MWac | Developer assumption
|  | Solar Capacity (MWdc) | 120 | MWdc | Developer assumption
|  | P50 Capacity Factor | 27% | AC basis | NREL NSRDB / SAM — SP15 | P50 is the base case and represents the energy production level that has a 50% probability of being exceeded in any given year.
|  | P90 Capacity Factor | 24% | AC basis | NREL NSRDB / SAM — SP15 | P90 is the lender case and represents the energy production level that has a 90% probability of being exceeded in any given year. Used for minimum DSCR calculation.
|  | Degradation Rate | 0.5% | % | NREL PV Reliability Roadmap
|  | Availability / Downtime Loss | 1.5% | % | PVWatts | 1.5% is between PVWatts default (3.0%, NREL PVWatts Version 5 Manual) and best-in-class monitored systems (0.5%). Reflects new utility-scale plant with professional O&M contract. See also NREL SAM default (5.0%) for conservative upper bound
|  | Curtailment Losses | 4% | % | LBNL Utility-Scale Solar 2024 | 4% net curtailment loss — reflects 2023 CAISO system average of ~3% (LBNL Utility-Scale Solar 2024, Figures 27-28) adjusted upward for project life curtailment trend and storage co-location offset. Sensitivity range: 2–12%. EIA data shows 29% year-over-year increase in CAISO curtailment in 2024."
|  | Hours per Year |  | Hours | N/A
BESS Assumptions
|  | BESS Power Rating | 50 | MW | Developer assumption
|  | BESS Storage Capacity | 200 | MWh | Developer assumption
|  | BESS Cycles per Day | 1.3 | cycles/day | Simplified dispatch assumption
|  | BESS Round-Trip Efficiency (RTE) | 85% | % | Standard Li-ion assumption
|  | BESS Degradation Rate | 2.5% | % | NREL ATB 2024
|  | Days per Year | 365 | Days | N/A
Revenue Assumptions
| PV | PPA Price (Year 1) | 50 | $/MWh | LBNL Utility-Scale Solar 2024
|  | PPA Escalator | 1% | % | Price growth assumption
|  | PPA Term | 20 | Years | Market convention
|  | Post-PPA Revenue (Merchant Price) | 35 | $/MWh | Merchant: conservative proxy for years 21-30
| BESS Energy Arbitrage | Discharge Price - Year 1 | 65 | $/MWh | SP15 evening peak proxy
|  | Discharge Price Escalator Rate | 1.5% | % per year | Price growth assumption
|  | Grid Purchase Price (Charging Cost) | 25 | $/MWh | SP15 off-peak proxy
|  | Grid Purchase Price Escalator | 1% | % per year | Price growth assumption
|  | BESS Capacity Allocated to Arbitrage | 70% | % | Developer assumption
| BESS Resource Adequacy | BESS Accredited Capacity | 45 | MW | 90% of 50 MW nameplate; sensitivity ±20% for accreditation risk
|  | RA Price (Year 1) | 6 | $/kW-month | CPUC RA proceedings
|  | RA Escalator Rate | 2% | % per year | IRS annual adjustment proxy — 2%
| BESS Ancillary Services | Ancillary Services Revenue — Year 1 | 75 | $/kW-year | CAISO market — regulation + FRP
|  | Ancillary Services Escalator Rate | 1.5% | % per year | Price growth assumption
|  | BESS Capacity Allocated to Ancillary Services | 30% | % | Developer assumption
|  | CHECK CAPACITY ALLOCATION |  |  | N/A
Cost Assumptions
| Capex | Solar EPC Cost | 0.8 | $/Wdc | NREL ATB 2024 — Utility-Scale PV | NREL ATB 2024 base year is 1.07/Wdc(2022), derived from Ramasamy et al. (2023) bottom-up benchmark. $0.80/Wdc reflects continued module and installation cost declines through 2024. California premium of ~10% over national average assumed for labor and permitting; without this adjustment the national benchmark would support ~$0.72–$0.75/Wdc. Sensitivity range: $0.75–$1.10/Wdc on Sensitivities tab Note: ATB capex includes grid connection costs (~$0.10/Wdc); this model separates interconnection as a standalone line item ($15M).
|  | BESS EPC Cost | 230 | $/kWh | NREL ATB 2024 — Utility-Scale Battery Storage | NREL bottom-up model (Cole and Karmakar, 2025) shows $334/kWh as the 2024 starting point for a 4-hour utility-scale system. $230/kWh reflects significant Li-ion cell cost declines through 2024 driven by global manufacturing capacity expansion, consistent with current developer procurement data. NREL's low-cost 2035 projection is $147/kWh, suggesting further decline ahead. Wide uncertainty acknowledged — sensitivity range: $200–$360/kWh on Sensitivities tab.
|  | Interconnection Cost | 15 | $M | Developer assumption — LBNL Queued Up 2024 (wide uncertainty) | No standard published benchmark. Network upgrade costs are determined by the ISO interconnection study process and can range from near zero to $50M+ for a 100 MWac project depending on location, queue position, and transmission constraints. LBNL Queued Up 2024 documents this variability across CAISO. $15M represents a moderate central estimate. This is the single most uncertain capex line item in the model — sensitivity range: $5M–$40M on Sensitivities tab.
|  | Development Costs | 5 | $M | Developer assumption
|  | Owner's Contingency | 5% | % of hard costs | Industry convention (5-10% of hard costs)
|  | Financing Costs | 3 | $M | Developer assumption
| Opex | Solar Fixed O&M | 10 | $/kWac-year | NREL ATB 2024 — Utility-Scale PV | NREL ATB 2024 reports $24/kWac-yr as an all-in O&M figure covering maintenance labor, insurance, land lease, asset management, site security, and vegetation management. This model decomposes those costs into separate line items. The $10/kWac covers maintenance labor and component replacement only. Summing all operating cost lines (Solar O&M + BESS O&M + Land + Insurance + Asset Management + CAISO Fees) yields approximately $29/kWac-yr, consistent with the ATB benchmark.
|  | BESS Fixed O&M | 8 | $/kWh-year | NREL ATB 2024 — Utility-Scale Battery Storage
|  | Land Lease Rate | 500 | $/acre-year | Developer assumption — CA market rate
|  | Land Area | 600 | acres | Developer assumption
|  | Insurance Rate | 0.25% | % of Capex/year | Industry convention (0.20–0.35% of capex)
|  | Asset Management Fee | 150 | $K/year | Developer assumption
|  | Transmission / CAISO Fees | 1 | $M/year | Developer assumption — CAISO tariff
|  | Opex Escalator Rate | 2% | % per year | IRS annual adjustment proxy — 2%
Debt Assumptions
|  | Minimum DSCR Covenant | 1.3 | x | Market convention — lender requirement
|  | Debt Interest Rate | 7% | % | NREL ATB 2024 Financial Cases | NREL ATB 2024 Financial Cases document a real debt rate of 4.5–5.0% for utility-scale solar. Adding the 2.5% inflation assumption used throughout the ATB gives a nominal equivalent of 7.0–7.5%. Norton Rose Fulbright Tax Equity Market Outlook 2024 confirms median project finance debt rates of approximately 7.0% for contracted utility solar as of 2023–2024. Note: ATB uses real rates for LCOE calculations; this model uses nominal rates throughout for consistency with standard project finance practice.
|  | Debt Tenor | 18 | Years | Industry convention — solar project finance
|  | Target Debt Ratio | 60% | % | Developer assumption — Goal Seek starting point
|  | Maximum Leverage | 65% | % | Market convention — lender hard cap
Tax Assumptions
|  | PWA Compliance | YES | Toggle YES/NO | IRA Section 48E / 45Y — PWA requirement | Toggle YES/No - drives credit rate
|  | Optimal Tax Credit Election |  |  | Model-calculated — see TAX tab Block 4
|  | Tax Credit Election | ITC |  | Override toggle — defaults to model optimal | TAX tab Block 4 shows PTC is the NPV-optimal election (+$5M total economic value vs. ITC). ITC is elected because PTC credits arrive annually over 10 years rather than at close, which doubles the required equity contribution from $44M to $90M and reduces Equity IRR from 9.52% to 3.69%. ITC is preferred for equity return optimization despite lower total NPV. See TAX tab Block 4 for full comparison including depreciation basis differential. This reflects the post-IRA transferability framework under Section 6418.
|  | Section 45Y PTC Rate - w/o PWA |  | $/MWh | IRA Section 45Y — base rate
|  | Section 45Y PTC Rate - w/ PWA | 30 | $/MWh | IRA Section 45Y — 5x PWA multiplier
|  | PTC Rate Applied |  | $/MWh | Derived — see PWA Compliance toggle
|  | PTC Transfer Price | 0.925 | $ | Norton Rose Tax Equity Outlook 2024
|  | PTC Inflation Escalator | 2% | % | IRS annual adjustment proxy — 2%
|  | Section 48E ITC Rate - w/o PWA | 6% | % | IRA Section 48E — base rate
|  | Section 48E ITC Rate - w/ PWA | 30% | % | IRA Section 48E — 5x PWA multiplier
|  | ITC Rate Applied |  | % | Derived — see PWA Compliance toggle
|  | ITC Transfer Price | 0.925 | $ | Norton Rose Tax Equity Outlook 2024
|  | Corporate Tax Rate | 21% | % | Tax Cuts and Jobs Act 2017
|  | Net Operating Loss (NOL) Deduction Cap | 80% | % | §172
|  | MACRS Schedule | 5 | Years | IRS Publication 946 — 5-year property
|  | MACRS Year 1 | 20% | % | IRS Publication 946 — half-year convention
|  | MACRS Year 2 | 32% | % | IRS Publication 946 — half-year convention
|  | MACRS Year 3 | 19.2% | % | IRS Publication 946 — half-year convention
|  | MACRS Year 4 | 11.52% | % | IRS Publication 946 — half-year convention
|  | MACRS Year 5 | 11.52% | % | IRS Publication 946 — half-year convention
|  | MACRS Year 6 |  | % | IRS Publication 946 — half-year convention
|  | MACRS Check |  | % | N/A
Discount Rate / Returns Assumptions
|  | Project Discount Rate (LCOE) | 7% | % | NREL ATB 2024 Financial Cases
|  | Target Equity IRR | 12% | % | Developer return threshold — industry convention

## Energy
ENERGY — Annual Production Schedule · Solar Loss Waterfall + BESS Dispatch · Years 1–30
Year N Production | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Gross Solar Production (MWh) - Pre-Degradation
PV Degradation Factor (Year N)
Gross Solar Production (MWh) - Post-Degradation
Availability Loss (MWh)
Production After Availability
Curtailment Loss (MWh)
Net Delivered Production (MWh)
Year N Production | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
BESS Gross Throughput (MWh) - Pre-Degradation
BESS Degradation Factor (Year N)
BESS Gross Throughput (MWh) - Post-Degradation
Curtailment Energy Available for BESS Charging (MWh)
Grid Charging Available (MWh)
BESS Gross Throughput - Constrained (MWh)
Round-Trip Efficiency Loss (MWh)
BESS Net Discharge (MWh)

## Revenue
REVENUE — Solar Energy · BESS Arbitrage · Resource Adequacy · Ancillary Services · Years 1–30
| Year N Production | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Solar Energy Revenue
Net Delivered Solar Production (MWh)
PPA Price — Year 1 ($/MWh)
PPA Escalator Factor
PPA Price — Escalated ($/MWh)
Merchant Price ($/MWh)
Contract Period Flag
Effective Energy Price — Year N ($/MWh)
Solar Energy Revenue ($)
BESS Block 1 - Energy Arbitrage Revenue
BESS Net Discharge (MWh)
BESS Capacity Allocated to Arbitrage
BESS Net Discharge - Arbitrage Share (MWh)
Discharge Price - Year 1 ($/MWh)
Discharge Price Escalator Factor
Discharge Price - Year N ($/MWh)
Grid Purchase Price - Year 1 ($/MWh)
Grid Purchase Price Escalator Factor
Grid Purchase Price - Year N ($/MWh)
RTE Adjustment Factor
Charging Cost per MWh Delivered - Year N ($/MWh)
Curtailment Share of Charging (%)
Grid Charging Share (%)
Blended Charging Cost ($/MWh)
Gross Arbitrage Spread - Year N ($/MWh)
BESS Energy Arbitrage Revenue ($)
BESS Block 2 — Resource Adequacy Revenue
BESS Accredited Capacity (MW)
RA Price — Year 1 ($/kW-month)
RA Escalator Factor
RA Price — Year N ($/kW-month)
BESS RA Revenue ($)
BESS Block 3 — Ancillary Services Revenue
BESS Power Rating - Nameplate (MW)
BESS Power Degradation Factor
BESS Power Rating - Year N (MW)
Ancillary Services Capacity Allocation
BESS Capacity - Ancillary Services Share (MW)
Ancillary Services Revenue - Year 1 ($/kW-year)
Ancillary Services Escalator Factor
Ancillary Services Revenue - Year N ($/kW-year)
BESS Ancillary Services Revenue ($)
TOTAL REVENUE

## Costs
COSTS — Capital Expenditure (Sources & Uses) · Annual Operating Costs · Years 1–30
Capex
Uses Block
Solar EPC Cost ($)
BESS EPC Cost ($)
Subtotal Hard Costs ($)
Interconnection Cost ($)
Development Costs ($)
Owner's Contingency ($)
Subtotal Soft Costs ($)
Subtotal Project Cost ($)
Financing Costs ($)
Total Project Cost ($)
| Year N Production | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Opex
Opex Escalator Factor
Solar Fixed O&M ($)
BESS Fixed O&M ($)
Land Lease ($)
Insurance ($)
Asset Management Fee ($)
Transmission / CAISO Fees ($)
Total Opex ($)
Opex % of Revenue
Cumulative Opex ($)

## Debt
DEBT — Debt Sizing · Amortization Schedule · DSCR · Goal Seek: Set Min DSCR = 1.30x by changing Initial Debt Estimate
Block 1 — Debt Sizing
Total Project Cost ($)
ITC Cash Proceeds ($)
Target Debt: Total Capitalization (%)
| Initial Debt Estimate ($) | 99095615.9084
Minimum DSCR Covenant
Debt Interest Rate
Debt Tenor (years)
Annual Debt Service — Constant ($)
Minimum DSCR Achieved
Sizing Check
Maximum Debt — Leverage Cap ($)
Binding Constraint
Final Debt Amount ($)
Equity Contribution ($)
Debt: Total Capitalization (%)
| Year N Production | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Block 2 — Amortization Schedule
Beginning Balance ($)
Interest Payment ($)
Total Debt Service ($)
Principal Payment ($)
Ending Balance ($)
Check: Ending Balance Year 18
Block 3 — DSCR Calculation
Interim CFADS Calc
Total Revenue ($)
Total Opex ($)
EBITDA ($)
Interest Expense ($)
Applied Depreciation ($)
Taxable Income ($)
Cash Tax ($)
Depreciation Add-Back ($)
CFADS ($)
DSCR Block
CFADS ($)
Total Debt Service ($)
DSCR (Year N)
Minimum DSCR Covenant
DSCR Headroom
Covenant Breach Flag
Minimum DSCR (debt period) | bar: 1
Average DSCR (debt period) | bar: 1
P50 DSCR (Year 1)

## Tax
TAX — ITC/PTC Election · MACRS Depreciation · Tax Liability · Optimal: PTC ($74.9M) ¦ Elected: ITC ($69.9M)
Block 1 — Section 48E ITC Calculation
Total Project Cost ($)
Less: Development Costs ($)
Less: Financing Costs ($)
Eligible Capex for ITC ($)
ITC Rate (%)
Gross ITC Amount ($)
ITC Transfer Price (¢/$)
ITC Cash Proceeds ($)
ITC Basis Reduction ($)
ITC Depreciable Basis ($)
| Year N Production | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Block 2 — Section 45Y PTC Calculation
Net Delivered Solar Production (MWh)
PTC Rate ($/MWh)
PTC Inflation Adjustment Factor
PTC Rate — Inflation Adjusted ($/MWh)
PTC Credit Period Flag
Annual PTC Value ($)
PTC Transfer Price (¢/$)
Annual PTC Cash Proceeds ($)
Block 3a — ITC MACRS Depreciation Schedule | bar: 1 to 6
ITC Depreciable Basis ($) | bar: 1 to 6
MACRS % — Year N
ITC Annual Depreciation ($) | bar: 1 to 6
ITC Cumulative Depreciation ($)
ITC Depreciation Tax Shield ($) | bar: 1 to 6
Check: Fully Depreciated
Block 3b — PTC MACRS Depreciation Schedule | bar: 1 to 6
PTC Depreciable Basis ($) | bar: 1 to 6
MACRS % — Year N
PTC Annual Depreciation ($) | bar: 1 to 6
PTC Cumulative Depreciation ($)
PTC Depreciation Tax Shield ($) | bar: 1 to 6
Check: Fully Depreciated
Block 4 — ITC vs. PTC Comparison | bar: 1 to 2
| Tax Credit Election | 1: ITC; 2: PTC
NPV of Credit Proceeds ($) | bar: 1 to 2
Depreciable Basis ($)
NPV of Depreciation Tax Shield ($) | bar: 1 to 2
Additional Equity Required at Close
Total Economic Value ($) | bar: 1 to 2
Value Difference ($) | bar: 1
Optimal Election | bar: 1
**Total economic value comparison is on a project basis. From an equity investor perspective, PTC requires $45.5M more equity at close - reducing levered returns substantially despite higher total NPV. ITC is preferred for equity IRR optimization.
Block 5 — Annual Tax Liability
Total Revenue ($)
Total Opex ($)
EBITDA ($)
Interest Expense ($)
Applied Annual Depreciation ($)
Taxable Income ($)
Net Operating Loss (NOL) Beginning Balance
NOL Generated
NOL Utilized
NOL Ending Balance
Taxable Income After NOL
Pre-Credit Tax ($)
PTC Applied ($)
Net Tax Liability ($)

## Cashflows
CASHFLOWS — Project IRR: 7.75% · Equity IRR: 9.52% · Equity Multiple: 3.33x · Payback: 11 Years
Block 1 — Project Cash Flow (Unlevered)
Total Capex ($)
ITC Cash Proceeds ($)
Net Investment at Close ($)
| Year N Production | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Total Revenue ($) | 0: 0
| Total Opex ($) | 0: 0
EBITDA ($)
| Applied Depreciation ($) | 0: 0
Taxable Income (Unlevered) ($)
Unlevered Cash Tax ($)
| Depreciation Add-Back ($) | 0: 0
CFADS — Unlevered ($)
Project Cash Flow ($)
Project IRR | bar: 0
Project NPV ($)
Block 2 — Equity Cash Flow (Levered)
| Year N Production | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Equity Contribution ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Revenue ($) | 0: 0
| Total Opex ($) | 0: 0
EBITDA ($)
| Interest Expense ($) | 0: 0
| Applied Depreciation ($) | 0: 0
Taxable Income (Levered) ($)
| Levered Cash Tax ($) | 0: 0
| Annual Interest Tax Shield (Year N) | 0: 0
| Depreciation Add-Back ($) | 0: 0
CFADS ($)
| Total Debt Service ($) | 0: 0
Free Cash Flow to Equity ($)
Equity Cash Flow ($)
Cumulative FCF (Year N)
Equity IRR | bar: 0
Equity NPV ($)
Block 3 — Equity Multiple and Payback | bar: 0
Equity Multiple | bar: 0
Payback Period
Block 4 — Returns Summary | bar: 0
Project IRR (%) | bar: 0
Equity IRR (%) | bar: 0
Project NPV ($)
Equity NPV at 12% ($) | bar: 0
Equity Multiple (x)
Payback Period (years) | bar: 0
Total Revenue (30 years) ($)
Total Opex (30 years) ($) | bar: 0
Total Levered Taxes Paid ($)
Total Interest Tax Shield | bar: 0
Total Debt Service ($)

## LCOE
LCOE — Solar: $90.88/MWh · System: $69.84/MWh (Lazard ✓) · Min Viable PPA: $49.02/MWh (LBNL ✓)
Block 1 — Solar LCOE
NPV Costs
NPV Energy
Solar LCOE
Block 2 — System LCOE (Solar + Storage)
NPV Costs
NPV Energy
Solar + Storage LCOE
Block 3 — Minimum Viable PPA Price
Section A — Current Model Output
Current PPA Price — Year 1 ($/MWh)
Current Equity IRR (%)
Current Project IRR (%)
Current LCOE — Solar ($/MWh)
Current LCOE — System ($/MWh)
Gap to 12% Equity IRR
Section B — Minimum Viable PPA Price |  |  | Notes
Target Equity IRR (%)
| Minimum Viable PPA Price ($/MWh) | 49.024 | Based on What-If analysis
Premium over Current Assumption ($/MWh)
Premium over Current Assumption (%)
Section C — Benchmarking |  |  | Source
| Lazard LCOE - Utility Solar+Storage Low ($/MWh) | 50 | Lazard v18.0 (2025)
| Lazard LCOE - Utility Solar+Storage High ($/MWh) | 131 | Lazard v18.0 (2025)
| LBNL PPA Price Range - Low ($/MWh) | 40 | LBNL Utility-Scale Solar 2024
| LBNL PPA Price Range - High ($/MWh) | 65 | LBNL Utility-Scale Solar 2024
Your LCOE vs. Lazard Range
Min Viable PPA vs. LBNL Market Range

## Sensitivities
SENSITIVITIES — 10 One-Way · 4 Two-Way · 4 Scenarios · Base: Project IRR 7.75% / Equity IRR 12.87%
Section 1 — Base Case Summary
| Project IRR (%) | 7.749%
| Equity IRR (%) | 12.87%
| Min DSCR (x) | 1.3
| Equity Multiple (x) | 5.0631
| Payback Period (years) | 9
| Total Project Cost ($) | 172100000
| Debt Amount ($) | 99094750.3457
| Equity Contribution ($) | 27467499.6543
| LCOE — System ($/MWh) | 69.84
| Min Viable PPA Price ($/MWh) | 49.024
Section 2 — One-Way Sensitivity Tables
Sensitivity Table 1 — PPA Price
|  | Scenario | PPA Price | Project IRR | Equity IRR | Min DSCR | Equity Multiple | ΔEquity IRR
|  | Bear | 40 | 5.805% | 6.84% | 1.3 | 2.8847 | -6.033%
|  | Low | 45 | 6.777% | 9.216% | 1.3 | 3.7043 | -3.657%
|  | Base | 50 | 7.749% | 12.87% | 1.3 | 5.0631 | 0%
|  | Mid-High | 55 | 8.719% | 14.51% | 1.3 | 4.7082 | 1.638%
|  | High | 60 | 9.687% | 19.59% | 1.3 | 6.1402 | 6.722%
|  | Bull | 65 | 10.63% | 28.26% | 1.3 | 8.5684 | 15.38%
Sensitivity Table 2 — Solar Capacity Factor
|  | Scenario | Capacity Factor (%) | Project IRR | Equity IRR | Min DSCR | Equity Multiple | ΔEquity IRR
|  | P90 | 24% | 6.542% | 8.676% | 1.3 | 3.4124 | -4.197%
|  | Low | 25% | 6.949% | 9.851% | 1.3 | 3.8535 | -3.021%
|  | Base (P50) | 27% | 7.749% | 12.87% | 1.3 | 5.0631 | 0%
|  | High | 29% | 8.532% | 13.61% | 1.3 | 4.5471 | 0.7422%
|  | P10 | 31% | 9.301% | 16.87% | 1.3 | 5.6 | 3.996%
Sensitivity Table 3 — Solar EPC Cost
|  | Scenario | Solar EPC ($/Wdc) | Project IRR | Equity IRR | Min DSCR | Equity Multiple | ΔEquity IRR
|  | Bull | 0.7 | 8.711% | 14.25% | 1.3 | 4.7301 | 1.376%
|  | Low | 0.75 | 8.215% | 12.51% | 1.3 | 4.1894 | -0.359%
|  | Base | 0.8 | 7.749% | 12.87% | 1.3 | 5.0631 | 0%
|  | High | 0.9 | 6.898% | 9.707% | 1.3 | 3.817 | -3.165%
|  | Bear | 1 | 6.136% | 7.679% | 1.3 | 3.0782 | -5.194%
Sensitivity Table 4 — BESS EPC Cost
|  | Scenario | BESS EPC ($/kWh) | Project IRR | Equity IRR | Min DSCR | Equity Multiple | ΔEquity IRR
|  | Bull | 180 | 8.542% | 13.62% | 1.3 | 4.5343 | 0.7507%
|  | Low | 200 | 8.215% | 12.51% | 1.3 | 4.1894 | -0.359%
|  | Base | 230 | 7.749% | 12.87% | 1.3 | 5.0631 | 0%
|  | High | 280 | 7.033% | 10.13% | 1.3 | 3.9784 | -2.74%
|  | Bear | 320 | 6.507% | 8.598% | 1.3 | 3.4057 | -4.274%
Sensitivity Table 5 — Interconnection Cost
|  | Scenario | Interconnection Cost ($M) | Project IRR | Equity IRR | Min DSCR | Equity Multiple | ΔEquity IRR
|  | Minimal | 5 | 8.502% | 13.48% | 1.3 | 4.4902 | 0.6092%
|  | Low | 10 | 8.116% | 12.2% | 1.3 | 4.0935 | -0.6697%
|  | Base | 15 | 7.749% | 12.87% | 1.3 | 5.0631 | 0%
|  | High | 25 | 7.065% | 10.24% | 1.3 | 4.019 | -2.634%
|  | Severe | 40 | 6.147% | 7.705% | 1.3 | 3.0876 | -5.167%
Sensitivity Table 6 — Merchant Price (Post-PPA)
|  | Scenario | Merchant Price ($/MWh) | Project IRR | Equity IRR | Min DSCR | Equity Multiple | ΔEquity IRR
|  | Bear | 20 | 7.384% | 12.32% | 1.3 | 4.2096 | -0.5513%
|  | Low | 28 | 7.584% | 12.63% | 1.3 | 4.6648 | -0.2463%
|  | Base | 35 | 7.749% | 12.87% | 1.3 | 5.0631 | 0%
|  | High | 42 | 7.906% | 13.1% | 1.3 | 5.4613 | 0.23%
|  | Bull | 50 | 8.076% | 13.35% | 1.3 | 5.9165 | 0.4756%
Sensitivity Table 7 — Debt Interest Rate
|  | Scenario | Interest Rate (%) | Project IRR | Equity IRR | Min DSCR | Equity Multiple | ΔEquity IRR
|  | Bull | 5.5% | 7.749% | 14.33% | 1.3 | 4.7486 | 1.457%
|  | Low | 6% | 7.749% | 13.03% | 1.3 | 4.3452 | 0.1565%
|  | Base | 7% | 7.749% | 12.87% | 1.3 | 5.0631 | 0%
|  | High | 8% | 7.749% | 10.46% | 1.3 | 4.1052 | -2.413%
|  | Bear | 9% | 7.749% | 8.907% | 1.3 | 3.519 | -3.965%
Sensitivity Table 8 — BESS Cycles Per Day
|  | Scenario | Cycles/Day | Project IRR | Equity IRR | Min DSCR | Equity Multiple | ΔEquity IRR
|  | Bear | 1 | 7.327% | 11.19% | 1.3 | 4.3894 | -1.679%
|  | Low | 1.1 | 7.469% | 11.72% | 1.3 | 4.5983 | -1.153%
|  | Base | 1.3 | 7.749% | 12.87% | 1.3 | 5.0631 | 0%
|  | High | 1.5 | 8.028% | 11.91% | 1.3 | 4.0066 | -0.9657%
|  | Bull | 1.7 | 8.304% | 12.75% | 1.3 | 4.2699 | -0.1273%
Sensitivity Table 9 — RA Accreditation
|  | Scenario | Accredited Capacity (MW) | % of Nameplate | Project IRR | Equity IRR | Min DSCR | Equity Multiple | ΔEquity IRR
|  | Severe haircut | 27 | 54% | 6.18% | 7.868% | 1.3 | 2.9164 | -5.005%
|  | Moderate haircut | 36 | 72% | 6.986% | 10.05% | 1.3 | 3.7783 | -2.825%
|  | Base | 45 | 90% | 7.749% | 12.87% | 1.3 | 5.0631 | 0%
|  | Upside | 48 | 96% | 7.996% | 11.82% | 1.3 | 4.0219 | -1.052%
Sensitivity Table 10 — Curtailment Rate
|  | Scenario | Curtailment Rate (%) | Project IRR | Equity IRR | Min DSCR | Equity Multiple | ΔEquity IRR
|  | Low | 2% | 7.887% | 11.53% | 1.3 | 3.8818 | -1.347%
|  | Base | 4% | 7.749% | 12.87% | 1.3 | 5.0631 | 0%
|  | High | 7% | 7.543% | 11.95% | 1.3 | 4.6981 | -0.9204%
|  | Severe | 12% | 7.196% | 10.62% | 1.3 | 4.1819 | -2.248%
Section 3 — Two-Way Sensitivity Tables
Base Case Inputs
| PPA Price ($/MWh) | 50
| Solar EPC Cost ($/Wdc) | 0.8
| Capacity Factor (%) | 27%
| Merchant Price ($/MWh) | 35
| BESS EPC Cost ($/kWh) | 230
| BESS Cycles Per Day | 1.3
| Interest Rate (%) | 7%
Two-Way Table 1 — Equity IRR: PPA Price × Solar EPC Cost
PPA Price ($)
| Equity IRR | 12.87% | 40 | 45 | 50 | 55 | 60 | 65
| Solar EPC Cost ($/Wdc) | 0.75 | 7.693% | 10.54% | 12.51% | 16.68% | 23.4% | 36.22%
|  | 0.8 | 6.84% | 9.216% | 12.87% | 14.51% | 19.59% | 28.26%
|  | 0.9 | 5.483% | 7.261% | 9.707% | 13.47% | 14.75% | 19.61%
|  | 1.1 | 3.591% | 4.767% | 6.22% | 8.092% | 10.67% | 12.02%
Two-Way Table 2 — Equity IRR: Capacity Factor × Merchant Price
Capacity Factor (%)
| Equity IRR | 12.87% | 22% | 24% | 27% | 30% | 32%
| Merchant Price ($/MWh) | 20 | 5.969% | 7.972% | 12.32% | 14.76% | 18.68%
|  | 28 | 6.396% | 8.365% | 12.63% | 14.96% | 18.82%
|  | 35 | 6.731% | 8.676% | 12.87% | 15.12% | 18.93%
|  | 42 | 7.037% | 8.961% | 13.1% | 15.28% | 19.04%
|  | 50 | 7.358% | 9.262% | 13.35% | 15.45% | 19.17%
Two-Way Table 3 — Equity IRR: BESS EPC Cost × BESS Cycles Per Day
BESS EPC Cost ($/kWh)
| Equity IRR | 12.87% | 200 | 230 | 260 | 280 | 320
| BESS Cycles Per Day | 1 | 13.1% | 11.19% | 9.74% | 8.942% | 7.63%
|  | 1.2 | 12.08% | 12.28% | 10.62% | 9.718% | 8.265%
|  | 1.3 | 12.51% | 12.87% | 11.09% | 10.13% | 8.598%
|  | 1.5 | 13.44% | 11.91% | 12.11% | 11.02% | 9.303%
|  | 1.7 | 14.45% | 12.75% | 13.26% | 12% | 10.07%
Two-Way Table 4 — Equity IRR: PPA Price × Interest Rate
PPA Price ($)
| Equity IRR | 12.87% | 40 | 45 | 50 | 55 | 60 | 65
| Interest Rate (%) | 5.5% | 8.73% | 12.75% | 14.33% | 20.38% | 32.22% | 45.06%
|  | 6% | 7.98% | 11.25% | 13.03% | 17.85% | 26.26% | 42.45%
|  | 7% | 6.84% | 9.216% | 12.87% | 14.51% | 19.59% | 28.26%
|  | 8% | 6.007% | 7.873% | 10.46% | 12.38% | 15.94% | 21.21%
|  | 9% | 5.369% | 6.909% | 8.907% | 11.7% | 13.61% | 17.3%
Section 4 — Scenario Analysis
Table 1 — Input Assumptions by Scenario
| Input Assumption | Bear Case | Base Case | Bull Case | 12% Target Case
| Solar EPC Cost ($/Wdc) | 1.05 | 0.8 | 0.78 | 0.8
| BESS EPC Cost ($/kWh) | 320 | 230 | 210 | 230
| Interconnection Cost ($M) | 30 | 15 | 8 | 15
| PPA Price — Year 1 ($/MWh) | 44 | 50 | 58 | 53
| P50 Capacity Factor (%) | 25% | 27% | 29% | 27.5%
| Curtailment Rate (%) | 8% | 4% | 2.5% | 3%
| Merchant Price — Post PPA ($/MWh) | 28 | 35 | 45 | 35
| Debt Interest Rate (%) | 8.5% | 7% | 6% | 7%
| BESS Cycles Per Day | 1.1 | 1.3 | 1.5 | 1.3
Table 2 — Output Metrics by Scenario
| Input Assumption | Bear Case | Base Case | Bull Case | 12% Target Case
| Total Project Cost ($M) | 237500000 | 172100000 | 158380000 | 172100000
| Debt Amount ($M) | 69046979.3825 | 99094750.3457 | 102947000 | 88984676.1244
| Equity Contribution ($M) | 104766770.6175 | 27467499.6543 | 13702550 | 37577573.8756
| Leverage (%) | 29.07% | 57.58% | 65% | 51.71%
| Project IRR (%) | 1.899% | 7.749% | 11.9% | 8.614%
| Equity IRR (%) | 0.6002% | 12.87% | 50.83% | 14.03%
| Min DSCR (x) | 1.3 | 1.3 | 1.4106 | 1.3
| Equity Multiple (x) | 1.1119 | 5.0631 | 15.9293 | 4.602
| Payback Period (years) | 28 | 9 | 2 | 8
| LCOE — System ($/MWh) | 102.0326 | 69.84 | 59.4351 | 68.311
| Year 1 Total Revenue ($M) | 15099496.7 | 17720253.64 | 20943610.4325 | 18697981.8775

## Outputs
100 MWac Solar PV + 50 MW / 200 MWh BESS ¦ CAISO SP15
Project Finance Model · Base Case Dashboard · April 2026
1 — Project Summary
Core project parameters and contractual framework
| Parameter | Value | Notes / Source
| Technology | Single-axis tracking PV + AC-coupled Li-ion BESS | Developer assumption
| Location / Market | CAISO SP15 — Southern California | CAISO interconnection queue
| Solar Capacity | 100 MWac / 120 MWdc (DC:AC 1.2x) | Developer assumption
| Storage Capacity | 50 MW / 200 MWh (4-hour duration) | Developer assumption
| P50 Capacity Factor | 27% (AC basis) | NREL NSRDB — SP15 region
| P90 Capacity Factor | 24% (AC basis) | NREL NSRDB — SP15 region
| Project Life | 30 years | Developer assumption
| COD Assumption | Year 1 of model (no construction period) | Simplification — see Limitations
| PPA Term / Price | 20 years / $50/MWh Year 1 (1.0%/yr escalator) | LBNL Utility-Scale Solar 2024
| Post-PPA Merchant | $35/MWh flat real (Years 21–30) | Conservative flat assumption
| Tax Credit | ITC — Section 48E / 30% / PWA compliant | IRA Section 48E; IRS guidance
| ITC Transfer Price | 92.5¢ per dollar | Norton Rose Tax Equity Outlook 2024
2 — Sources and Uses
Total project cost and financing structure at financial close
| USES | Amount ($) | % of Total
Solar EPC Cost
BESS EPC Cost
Interconnection
Development Costs ($)
Owner's Contingency ($)
Financing Costs ($)
Total Project Cost
| SOURCES | Amount ($) | % of Total
Senior Debt
ITC Cash Proceeds
Equity Contribution
Total Sources
Check: Uses − Sources
3 — Key Returns
Project and equity returns, debt metrics, and LCOE benchmarks
Project Returns (Unlevered)
| Metric | Value | Benchmark / Target | Status
| Project IRR (%) |  | > 7.0% (debt cost)
| Project NPV at 7% ($) |  | > $0
| Total 30-Year Revenue ($) |  | —
| Total 30-Year Opex ($) |  | —
| Total Unlevered Taxes Paid ($) |  | —
Equity Returns (Levered)
| Equity IRR (%) |  | Target: 12.0%
| Gap to 12% Target |  | Min viable PPA: $55.42/MWh
| Equity NPV at 12% ($) |  | > $0 at target IRR
| Equity Multiple (x) |  | Target: > 2.0x
| Payback Period (years) |  | Target: < 20 yrs
| Total Debt Service ($) |  | —
| Total Levered Taxes Paid ($) |  | —
| Total Interest Tax Shield ($) |  | —
Debt Metrics
| Debt Amount ($) |  | DSCR-constrained
| Leverage (%) |  | Max 65% (leverage cap)
| Binding Constraint |  | —
| Annual Debt Service ($) |  | —
| Debt Tenor / Rate |  | NREL ATB 2024
| Minimum DSCR (x) |  | Covenant: 1.30x
| Average DSCR (x) |  | —
| P90 DSCR Year 1 (x) |  | Floor: 1.10x
4 — Revenue and Cost Breakdown
Year 1 revenue mix and operating cost structure
Year 1 Revenue ($17,720,254 total)
| Revenue Stream | Year 1 ($) | % of Total | BESS Revenue Detail
| Solar Energy Revenue (PPA) |  |  | Contract: $50/MWh × 223,653 MWh
| BESS Energy Arbitrage |  |  | $38.48/MWh net spread × 56,466 MWh
| BESS Resource Adequacy |  |  | 45 MW × $6/kW-month × 12
| BESS Ancillary Services |  |  | 15 MW × $75/kW-year
Total Year 1 Revenue
Year 1 Operating Costs ($4,480,250 total / 25.3% of revenue)
| Cost Item | Year 1 ($) | % of Revenue
Solar Fixed O&M
BESS Fixed O&M
Land Lease
Insurance
Asset Management Fee
Transmission / CAISO Fees
Total Year 1 Opex
Year 1 EBITDA
5 — LCOE and Commercial Viability
Levelized cost benchmarking and minimum viable PPA price analysis
| Metric | Value | Benchmark / Range | Status
| Solar LCOE ($/MWh) |  | Reference only
| System LCOE ($/MWh) |  | Lazard v18: $50–$131/MWh
| Current PPA Price ($/MWh) |  | LBNL market: $40–$65/MWh
| Min Viable PPA Price ($/MWh) |  | LBNL market: $40–$65/MWh
| Gap to 12% Equity IRR Target |  | Requires +$5.42/MWh on PPA
6 — Key Assumptions Reference
All assumptions sourced — see INPUTS tab for full citation detail
| Resource | Value | Source
| P50 Capacity Factor |  | NREL NSRDB / SAM — SP15
| P90 Capacity Factor |  | NREL NSRDB
| Solar Degradation |  | NREL PV Reliability Roadmap
| BESS Degradation |  | NREL ATB 2024
| BESS Cycles / Day |  | Simplified dispatch assumption
| Curtailment Rate |  | LBNL Utility-Scale Solar 2024
| BESS Round-Trip Eff. |  | Standard Li-ion assumption
| Costs | Value | Source
| Solar EPC |  | NREL ATB 2024 (California adj.)
| BESS EPC |  | NREL ATB 2024 / 2024 market data
| Interconnection |  | Developer assumption — wide uncertainty
| Opex Escalator |  | Inflation proxy
| Revenue | Value | Source
| PPA Price Year 1 |  | LBNL Utility-Scale Solar 2024
| PPA Escalator |  | Market convention
| PPA Term |  | Market convention
| Merchant Price |  | Conservative assumption
| BESS Discharge Price |  | SP15 evening peak proxy
| Grid Purchase Price |  | SP15 off-peak proxy
| RA Price |  | CPUC RA proceedings
| RA Accreditation |  | CAISO ELCC methodology
| Ancillary Services |  | CAISO market — regulation + FRP
| Tax | Value | Source
Credit Election
Credit Rate
| Transfer Price |  | Norton Rose 2024
| MACRS Schedule |  | IRS Publication 946
| Corporate Tax Rate |  | Tax Cuts and Jobs Act 2017
| Financing | Value | Source
| Debt Interest Rate |  | NREL ATB 2024 + 2.5% inflation
| Debt Tenor |  | Market convention
| Min DSCR Covenant |  | Market convention
| Max Leverage |  | Market convention
| Project Discount Rate |  | NREL ATB 2024 Financial Cases
| Target Equity IRR |  | Developer return threshold
⚠ Note on Tax Credit Election: Model elects ITC per INPUTS tab. TAX tab Block 4 comparison shows PTC is the NPV-optimal election (PTC total value $74.9M vs. ITC $69.9M). ITC is modeled to demonstrate upfront cash proceeds mechanics. See TAX tab for full comparison.
All values are model outputs and for illustrative purposes only. Sources: NREL ATB 2024 · Lazard LCOE v18.0 (2025) · LBNL Utility-Scale Solar 2024 · FERC Energy Primer 2024 · Norton Rose Tax Equity Outlook 2024 · IRS Publication 946 · Model version 1.0 · Last updated: April 2026